## all_substations
FLOC_STRNO_FunctionalLocation | FLOC_PLTXT_FunctionalLocationDescr | FLOC_EARTX_TechnicalObjectTypeDescr | FLOC_STORT_LocationDescr
ST000020-08 | Wycarbah FS | Substation | Wycarbah
ST000040-12 | Dingo TSC | Substation | Dingo
ST000050-08 | Bluff FS | Substation | Bluff
ST000070-06 | Burngrove TCU | Substation | Burngrove
ST000090-04 | Red Rock TSC | Substation | Red Rock
ST000110-07 | Gregory FS | Substation | Gregory
ST000120-13 | CALLEMONDAH FS | Substation | Callemondah
ST000150-09 | Raglan FS | Substation | Raglan
ST000160-13 | Rocklands TSC | Substation | Rocklands
ST000210-10 | Grantleigh FS | Substation | Grantleigh
ST000340-18 | Rangal FS | Substation | Rangal
ST000460-06 | YAN YAN TCU | Substation | Yan Yan
ST000680-13 | Oonooie FS | Substation | Oonooie
ST000690-55 | Bolingbroke FS | Substation | Bolingbroke
ST000700-13 | Wandoo FS | Substation | Wandoo
ST000710-18 | Coppabella FS | Substation | Coppabella
ST000720-04 | Red Mountain TSC | Substation | Red Mountain
ST000730-08 | Peak Downs FS | Substation | Peak Downs
ST000740-03 | Saraji TSC | Substation | Saraji
ST000750-08 | Norwich Park FS | Substation | Norwich Park
ST000760-04 | German Creek TSC | Substation | German Creek
ST000770-07 | Wotonga FS | Substation | Wotonga
ST000780-09 | Moranbah South TSC | Substation | Moranbah South
ST000790-04 | Villafranca TSC | Substation | Villafranca
ST000800-08 | Mount McLaren FS | Substation | Mount McLaren
ST001220-04 | BRMI 111 Km PSC | Substation | Braeside-Mindi
ST001230-28 | Braeside TSC | Substation | Braeside
ST001250-02 | RM 21.8 Km PSC | Substation | Red Mountain
ST001260-02 | IN 11.7 Km PSC | Substation | Ingsdon
ST001270-05 | PS 15.3 Km PSC | Substation | Praguelands
ST001280-03 | MO 28.7 Km PSC | Substation | Moranbah-Villafranca
ST001290-03 | VA 37.4 Km PSC | Substation | Villafranca
ST001300-03 | HD 45.2 Km PSC | Substation | Hatfield
ST001310-03 | MM 55.5 Km PSC | Substation | Mount McLaren-Villafranca
ST001320-02 | SI 64.3 Km PSC | Substation | Saraji
ST001330-04 | BO 65.9 Km PSC | Substation | Bolingbroke
ST001340-03 | MM 65.9 Km PSC | Substation | Blackridge-Mount McLaren
ST001350-05 | BK 76.8 Km PSC | Substation | Balook-Wandoo
ST001360-02 | BR 85.5 Km PSC | Substation | Blackridge
ST001370-03 | DT-SS 94.202Km PSC | Substation | Dysart-Stephens
ST001380-04 | WA 95 Km PSC | Substation | Waitara
ST001390-02 | BA 103.5 Km PSC | Substation | Blair Athol
ST001400-03 | NP 115.4 Km PSC | Substation | Norwich Park
ST001410-04 | MI 123 Km PSC | Substation | Mindi
ST001420-03 | BD 126.2 Km PSC | Substation | Bundoora
ST001430-04 | TH 135.5 Km PSC | Substation | Tootoolah
ST001440-04 | BL 154.2 Km PSC East | Substation | Broadlea
ST001450-02 | MA 168.1Km PSC | Substation | Mallawa
ST001460-04 | RE 199.4 Km PSC | Substation | Riverside
ST001470-02 | GA 195.5 Km PSC | Substation | Goonyella
ST001480-02 | NG 212.2 Km PSC | Substation | North Goonyella
ST001490-03 | OC 77.2 Km PSC | Substation | Oaky Creek
ST001500-01 | PS 14.4 Km PSC | Substation | Praguelands
ST001510-01 | JN 19.0 Km PSC | Substation | Jilalan
ST001520-01 | JN 19.4 Km PSC | Substation | Jilalan
ST001530-01 | JN 20.8 Km PSC | Substation | Jilalan
ST001540-01 | JN 21.9 Km PSC | Substation | Jilalan
ST001550-01 | JN 22.1 Km PSC | Substation | Jilalan
ST001560-01 | YN 28.8 Km PSC | Substation | Yukan
ST001570-01 | YN 29.1 Km PSC | Substation | Yukan
ST001580-01 | YN 30.0 Km MI PSC | Substation | Yukan
ST001590-01 | BM 40.9 Km PSC | Substation | Black Mountain
ST001600-01 | HD 49.7 Km PSC | Substation | Hatfield
ST001610-01 | BO 60.5 Km PSC | Substation | Bolingbroke
ST001620-01 | BK 74.619 Km PSC | Substation | Balook
ST001630-01 | WO 85.9 Km PSC | Substation | Wandoo
ST001640-01 | WA 98.1 Km PSC | Substation | Waitara
ST001650-01 | BE 107.8 Km PSC | Substation | Braeside
ST001660-01 | MI 120.5 Km PSC | Substation | Mindi
ST001670-01 | TH 132.7 Km PSC | Substation | Tootoolah
ST001680-01 | CA 142.7 Km PSC | Substation | Coppabella
ST001690-01 | NG 200.85 Km PSC | Substation | Riverside
ST001700-01 | MO 16.7 Km PSC | Substation | Moranbah
ST001710-01 | VA 38.0 Km PSC | Substation | Villafranca
ST001720-01 | MM 59.0 Km PSC | Substation | Mount McLaren
ST001730-01 | CA 145.3 Km PSC | Substation | Coppabella
ST001740-01 | PD 43.789 Km PSC | Substation | Peak Downs
ST001750-01 | DT 88.4 Km PSC | Substation | Dysart
ST001760-01 | SI 65.14 Km PSC | Substation | Saraji
ST001770-01 | BD 129.64 Km PSC | Substation | Bundoora
ST001780-03 | NG 207 Km PSC | Substation | North Goonyella
ST001790-02 | BR 94.5 Km PSC | Substation | Blackridge-Blair Athol
ST001800-02 | WR 27.808 km PSE | Substation | Winchester
ST001820-02 | RA MI North PSC | Substation | Raglan
ST001830-02 | RD MI South PSC | Substation | Rocklands
ST001840-02 | BF 2MC PSC | Substation | Bluff
ST001850-02 | BO MI PSC | Substation | Boonal
ST001860-03 | AA MI PSC | Substation | Aldoga
ST001870-03 | EP AT PSC | Substation | Epala
ST001880-03 | MR PSC | Substation | Marmor
ST001890-03 | AR AT PSC | Substation | Archer
ST001900-03 | ME AT PSC | Substation | Midgee
ST001910-03 | WR AT PSC | Substation | Warren
ST001920-03 | TL AT PSC | Substation | Tunnel
ST001930-03 | AN AT PSC | Substation | Aroona
ST001940-03 | WO AT PSC | Substation | Wallaroo
ST001950-03 | TA AT PSC | Substation | Tryphinia
ST001960-02 | DO AT PSC | Substation | Dingo
ST001970-03 | WA AT PSC | Substation | Walton
ST001980-03 | BO PSC | Substation | Boonal
ST001990-02 | TS AT PSC | Substation | Taurus
ST002000-02 | TS AT PSC | Substation | Tolmies
ST002010-02 | CT PSC | Substation | Comet
ST002020-02 | CY AT PSC | Substation | Comet-Yamala
ST002030-02 | YA PSC | Substation | Yamala
ST002040-02 | YA-NA AT PSC | Substation | Nogoa
ST002050-02 | CW AT PSC | Substation | Crew
ST002060-02 | MZ AT PSC | Substation | Mackenzie
ST002070-01 | PA MI PSB | Substation | Parana
ST002080-01 | MM MI PSC | Substation | Mount Miller
ST002090-01 | RA MI South PSC | Substation | Raglan
ST002100-01 | ME MI PSC | Substation | Midgee
ST002110-01 | GR MI PSC | Substation | Gracemere
ST002120-01 | WH MI PSC | Substation | Wycarbah
ST002130-01 | WD MI PSC | Substation | Westwood
ST002140-01 | WN PSC | Substation | Windah
ST002150-01 | WN MI PSC | Substation | Windah
ST002160-01 | GT 67.1Km MI PSC | Substation | Grantleigh
ST002170-01 | TL MI PSC | Substation | Tunnel
ST002180-01 | EG MI PSC | Substation | Edungalba
ST002190-01 | DA MI PSC | Substation | Duaringa
ST002200-01 | WO MI PSC | Substation | Wallaroo
ST002210-01 | TA MI PSC | Substation | Tryphinia
ST002220-01 | DO MI PSC | Substation | Dingo
ST002230-01 | UO MI PSC | Substation | Umolo
ST002250-01 | PL MI PSC | Substation | Parnabal
ST002260-01 | BF 1MC PSC | Substation | Bluff
ST002270-01 | BR AT PSC East | Substation | Blackwater
ST002280-01 | BR MI PSC West | Substation | Blackwater
ST002290-01 | BG MI PSC | Substation | Boorgoon
ST002300-01 | TS MI PSC | Substation | Tolmies
ST002310-01 | NA MI PSC | Substation | Nogoa
ST002320-01 | MZ MI PSC | Substation | Mackenzie
ST002330-01 | GG MI PSC | Substation | Gregory
ST002340-02 | WR MI PSC | Substation | Warren
ST002340-03 | WR 25.9Km PSC | Substation | Warren
ST005300-01 | SI-LV 83.1 Km PSC | Substation | Lake Vermont-Saraji
ST005310-01 | WO 184.8 Km PSC | Substation | Wotonga
ST005320-05 | MZ 0.5 Km PSC | Substation | Wotonga
ST005330-01 | PD 53 Km PSC | Substation | Peak Downs
ST005340-01 | WA 103 Km PSC | Substation | Waitara
ST005470-24 | Balook TSC | Substation | Balook
ST005990-07 | HP 1.200Km PSC | Substation | Hay Point
ST006005-08 | OD 11.416 km PSE | Substation | Olive Downs
ST006025 | Olive Downs 27.808km PSE | Substation | Olive Downs
ST006130-08 | Boonal 178.505 Km MI PSC | Substation | Boonal
ST006540-28 | South Walker TSC | Substation | South Walker
ST006550-03 | HC 6.286 Km PSC | Substation | Hail Creek
ST006560-03 | HC 18.106 Km PSC | Substation | Hail Creek
ST006570-03 | HC 30.068 Km PSC | Substation | Hail Creek
ST006580-03 | HC 41.174 Km PSC | Substation | Hail Creek
ST006610-01 | HC 0.160 Km PSC | Substation | Bidgerley
ST006630-31 | Duaringa FS | Substation | Duaringa
ST007310-42 | Mindi FS | Substation | Mindi
ST007480-02 | BL 158 Km PSC West | Substation | Broadlea
ST007490-40 | Black Mountain TSC | Substation | Black Mountain
ST007520-02 | YY MI PSC | Substation | Yan Yan
ST007590-28 | Jilalan TSC | Substation | Jilalan
ST007600-19 | Dalrymple Bay FS | Substation | Dalrymple
ST007630-02 | CY 536.233 Km PSC | Substation | Callemondah
ST007640-47 | Grasstree TSC | Substation | Grasstree
ST007670-02 | GT 67.8km PSC | Substation | Grantleigh
ST007680-02 | TL 73.632km PSC | Substation | Tunnel
ST007690-02 | TL 75.758km PSC | Substation | Tunnel
ST007730-44 | Mount Larcom TSC | Substation | Mount Larcom
ST007740-38 | Bajool TSC | Substation | Bajool
ST007750-38 | Westwood TSC | Substation | Westwood
ST007760-38 | Edungalba TSC | Substation | Edungalba
ST007780-37 | Kabra TSC | Substation | Kabra
ST007790-11 | WHWD AT PSC | Substation | Spring Creek
ST007820-12 | GR AT PSC | Substation | Gracemere
ST007870-12 | Lake Vermont TCU | Substation | Lake Vermont
ST007880-03 | LV AT2 11 Km PSC | Substation | Lake Vermont
ST008020-50 | Wallaroo TSC | Substation | Wallaroo
ST008030-05 | IN 13.2Km PSC | Substation | Ingsdon
ST008130-13 | EGAN PSC | Substation | Edungalba
ST008210-14 | MT TCU | Substation | Middlemount
ST008230-03 | MT AT2 PSC 10Km | Substation | Middlemount
ST008450-49 | Raglan CS | Substation | Raglan
ST008470-08 | Blackwater TSC | Substation | Blackwater
ST008490-01 | DL 0.620 Km PSC | Substation | Dalrymple
ST008500-01 | CA 1.3Km PSC | Substation | Coppabella
ST008510-01 | CA 3.85Km PSC | Substation | Coppabella
ST008520-01 | WT 173.7Km PSC | Substation | Wotonga
ST008530-33 | Umolo TSC | Substation | Umolo
ST008795-01 | Nebo MI Yard | Substation | Nebo
ST009050-13 | EP MI South PSC | Substation | Epala
ST009070-18 | EP MI North PSC | Substation | Epala
ST009080-10 | BL MI South PSC | Substation | Bajool
ST009130-01 | CN 2.780 Km PSC | Substation | Clinton
ST009140-02 | CN 2.097 Km PSC | Substation | Clinton
ST009190-01 | Grosvenor TSC | Substation | Grosvenor
ST009210-01 | Carborough Downs TSC | Substation | Carborough Downs
ST009440-05 | Kinrola TSY | Substation | Kinrola
ST009450-23 | Struan Road FS | Substation | Struan Road
ST009460-15 | YN AT PSC | Substation | Yarwun
ST009470-01 | Kinrola PSC 15.040Km | Substation | Kinrola
ST009480-03 | KNKM/AT1 12.100Km PSC | Substation | Kenmare-Kinrola
ST009490-03 | KM/AT1 26.500Km PSC | Substation | Kenmare
ST009500-03 | KMMO/AT1 41.100Km PSC | Substation | Kenmare-Memooloo
ST009510-03 | MOSE/AT1 67.500Km PSC | Substation | Memooloo-Starlee
ST009520-01 | MOSE/AT2 78.650Km PSC | Substation | Starlee
ST009530-03 | SERM/AT2 103.650Km PSC | Substation | Rolleston Mine
ST009540-03 | SERM/AT1 91.500Km PSC | Substation | Rolleston Mine-Starlee

## avg_maint_cost_per_activity_typ
MaintenanceActivityType | MaintenanceActivityTypeDesc | Average_ActualTotalCost_All_Time | Sample_Size_All_Time
C44 | Fire & Vegetation Management | 2078.82 | 1
E31 | Feed Stns&Trck Sect Cabin Mtce | 1346.8001 | 406
NIP | Inspect | 2362.0491 | 215
NRP | Repair | 3274.0541 | 359
NSV | Service | 797.3182 | 2541
T02 | Overhead Maintenance | 1385.11 | 1
T32 | Power Systems Control Traction | 1268.085 | 10

## avg_maint_cost
FLOC_EARTX_TechnicalObjectTypeDescr | Average_ActualTotalCost_All_Time | Sample_Size_All_Time | Average_ActualTotalCost_current_Year | Sample_Size_current_Year | Average_ActualTotalCost_Previous_Year | Sample_Size_Previous_Year | Average_Last_3_Years | Sample_Size_Last_3_Years | Average_Last_5_Years | Sample_Size_Last_5_Years
Substation | 1209.2151 | 3533 | 1371.9819 | 725 | 1110.9781 | 1240 | 1156.3447 | 2742 | 1154.5629 | 2780

## T26_T27_E31_Count
FLOC_EARTX_TechnicalObjectTypeDescr | MaintenanceActivityType | OrderType | Count
LV Power Systems | T27 | MW04 | 10
SFC Cooling | E31 | NW02 | 1
HV Switchgear | E31 | NW02 | 1
Power Quality | E31 | NW02 | 4
LV Power Systems | E31 | NW01 | 1
Electrical Section | T27 | MW04 | 2
HV Switchgear | E31 | NW01 | 2
Section Insulator | E31 | NW02 | 1
SFC Cooling | E31 | NW03 | 10
Site | E31 | NW02 | 1
Transformer | E31 | NW02 | 27
HV Monitoring | E31 | NW03 | 66
HV Protection | E31 | NW02 | 8
Substation | E31 | NW03 | 364
Isolators | E31 | NW02 | 13
Substation | E31 | NW01 | 1
Substation | E31 | NW02 | 41
Isolators | E31 | NW03 | 4
| T27 | MW04 | 1
Electrical Section | E31 | NW02 | 1
HV Switchgear | E31 | NW03 | 28
LV Power Systems | E31 | NW02 | 9
Transformer | E31 | NW01 | 1
Power Quality | E31 | NW03 | 2
| T26 | MW04 | 1
Transformer | E31 | NW03 | 41
HV Monitoring | E31 | NW02 | 13
LV Power Systems | E31 | NW03 | 86
Housing | E31 | NW02 | 1
Electronic Weighbrid | E31 | NW02 | 1
HV Protection | E31 | NW03 | 44

## T26_T27_E31_all_wo
WorkOrderNumber | FLOC_STRNO_FunctionalLocation | FLOC_PLTXT_FunctionalLocationDescr | FLOC_EARTX_TechnicalObjectTypeDescr | MaintenanceActivityType
58287382 | ST008210-14 | MT TCU | Substation | E31
58280368 | ST008210-13 | MT TCU 331 Fault Locator | HV Monitoring | E31
58287388 | ST008230-03 | MT AT2 PSC 10Km | Substation | E31
58287381 | ST008230-03 | MT AT2 PSC 10Km | Substation | E31
58280364 | ST008230-03 | MT AT2 PSC 10Km | Substation | E31
58280372 | ST008210-12 | MIDDLEMOUNT TCU - AT1 | Transformer | E31
58280373 | ST008230-02 | MIDDLEMOUNT ATS - AT2 | Transformer | E31
58280375 | ST008210-11 | 331Z/333A Motorised Isolator | Isolators | E31
58286703 | ST007740-38 | Bajool TSC | Substation | E31
58277076 | ST007760-38 | Edungalba TSC | Substation | E31
58287342 | ST007760-38 | Edungalba TSC | Substation | E31
57089846 | ST007760-11 | EDUNGALBA TSC - AT3 | Transformer | E31
58287341 | ST008130-13 | EGAN PSC | Substation | E31
58277065 | ST007730-44 | Mount Larcom TSC | Substation | E31
57091942 | ST007880-01 | LV/AT2-I Isolator | Isolators | E31
57090424 | ST007870-03 | 323/2 Isolator | Isolators | E31
58278242 | ST007750-38 | Westwood TSC | Substation | E31
58277032 | ST007750-16 | Westwood TSC AC/DC Power Supply | LV Power Systems | E31
57088802 | ST007820-02 | GRACEMERE ATS - AT2 | Transformer | E31
57088803 | ST007820-01 | GRACEMERE ATS - AT1 | Transformer | E31
57088805 | ST007790-02 | SPRING CREEK ATS - AT2 | Transformer | E31
57088807 | ST007790-01 | SPRING CREEK ATS - AT1 | Transformer | E31
57087975 | ST007720-01 | SS RTU AC/DC Power Supply | LV Power Systems | E31
58287339 | ST007680-02 | TL 73.632km PSC | Substation | E31
58278240 | ST007670-02 | GT 67.8km PSC | Substation | E31
58278243 | ST008130-13 | EGAN PSC | Substation | E31
58277039 | ST007730-44 | Mount Larcom TSC | Substation | E31
58286702 | ST007730-44 | Mount Larcom TSC | Substation | E31
58277038 | ST007750-38 | Westwood TSC | Substation | E31
58277075 | ST007750-38 | Westwood TSC | Substation | E31
58287340 | ST007750-38 | Westwood TSC | Substation | E31
57088804 | ST007790-02 | SPRING CREEK ATS - AT2 | Transformer | E31
57088806 | ST007790-01 | SPRING CREEK ATS - AT1 | Transformer | E31
58278241 | ST007680-02 | TL 73.632km PSC | Substation | E31
58287338 | ST007670-02 | GT 67.8km PSC | Substation | E31
58288178 | ST007490-40 | Black Mountain TSC | Substation | E31
58287299 | ST005470-24 | Balook TSC | Substation | E31
58281562 | ST007600-19 | Dalrymple Bay FS | Substation | E31
58288327 | ST000690-55 | Bolingbroke FS | Substation | E31
57089684 | ST007310-42 | Mindi FS | Substation | E31
58279074 | ST001220-04 | BRMI 111 Km PSC | Substation | E31
58288329 | ST007490-40 | Black Mountain TSC | Substation | E31
58274310 | ST007490-40 | Black Mountain TSC | Substation | E31
58281563 | ST007490-40 | Black Mountain TSC | Substation | E31
58279067 | ST005470-24 | Balook TSC | Substation | E31
58282259 | ST005470-24 | Balook TSC | Substation | E31
57089682 | ST007600-19 | Dalrymple Bay FS | Substation | E31
58288328 | ST007600-19 | Dalrymple Bay FS | Substation | E31
58278248 | ST007790-11 | WHWD AT PSC | Substation | E31
58278247 | ST002340-03 | WR 25.9Km PSC | Substation | E31
58287343 | ST002340-02 | WR MI PSC | Substation | E31
58230640 | ST000070-16 | BURNGROVE TCU - AT2 | Transformer | E31
58288220 | ST006130-08 | Boonal 178.505 Km MI PSC | Substation | E31
58287383 | ST008030-05 | IN 13.2Km PSC | Substation | E31
58287389 | ST008210-14 | MT TCU | Substation | E31
58287386 | ST008210-13 | MT TCU 331 Fault Locator | HV Monitoring | E31
58280370 | ST008230-03 | MT AT2 PSC 10Km | Substation | E31
58287390 | ST008210-12 | MIDDLEMOUNT TCU - AT1 | Transformer | E31
58287391 | ST008230-02 | MIDDLEMOUNT ATS - AT2 | Transformer | E31
58287393 | ST008210-11 | 331Z/333A Motorised Isolator | Isolators | E31
57090444 | ST007880-02 | LAKE VERMONT ATS - AT2 | Transformer | E31
58252182 | ST007600-61 | DALRYMPLE BAY FS - T91 | Transformer | E31
58277066 | ST007740-38 | Bajool TSC | Substation | E31
58278244 | ST007760-38 | Edungalba TSC | Substation | E31
58281566 | ST008500-01 | CA 1.3Km PSC | Substation | E31
58260798 | ST007880-03 | LV AT2 11 Km PSC | Substation | E31
58280367 | ST007880-03 | LV AT2 11 Km PSC | Substation | E31
58287384 | ST007870-12 | Lake Vermont TCU | Substation | E31
58280243 | ST007870-12 | Lake Vermont TCU | Substation | E31
58288180 | ST007590-28 | Jilalan TSC | Substation | E31
58288331 | ST007590-28 | Jilalan TSC | Substation | E31
57072461 | ST007590-28 | Jilalan TSC | Substation | E31
58274312 | ST007590-28 | Jilalan TSC | Substation | E31
58288330 | ST007640-47 | Grasstree TSC | Substation | E31
57090423 | ST007640-47 | Grasstree TSC | Substation | E31
58274311 | ST007640-47 | Grasstree TSC | Substation | E31
58281564 | ST007640-47 | Grasstree TSC | Substation | E31
58288222 | ST008470-08 | Blackwater TSC | Substation | E31
58277079 | ST008470-08 | Blackwater TSC | Substation | E31
58279980 | ST008470-08 | Blackwater TSC | Substation | E31
57087297 | ST008020-50 | Wallaroo TSC | Substation | E31
58288221 | ST008020-50 | Wallaroo TSC | Substation | E31
58278250 | ST008020-50 | Wallaroo TSC | Substation | E31
58278249 | ST006630-31 | Duaringa FS | Substation | E31
58277074 | ST006630-31 | Duaringa FS | Substation | E31
57090440 | ST007640-46 | Grasstree TSC 901/902 Fault Locator | HV Monitoring | E31
58252190 | ST007640-45 | Grasstree TSC 916 Fault Locator | HV Monitoring | E31
58287345 | ST007790-11 | WHWD AT PSC | Substation | E31
58287344 | ST002340-03 | WR 25.9Km PSC | Substation | E31
58278246 | ST002340-02 | WR MI PSC | Substation | E31
57089352 | ST002340-02 | WR MI PSC | Substation | E31
58234731 | ST000070-16 | BURNGROVE TCU - AT2 | Transformer | E31
58280276 | ST006130-08 | Boonal 178.505 Km MI PSC | Substation | E31
58253525 | ST008030-05 | IN 13.2Km PSC | Substation | E31
58280897 | ST008030-05 | IN 13.2Km PSC | Substation | E31
58280365 | ST008210-14 | MT TCU | Substation | E31
58280371 | ST008210-14 | MT TCU | Substation | E31
58268878 | ST006540-32 | South Walker 281/282 Fault Locator | HV Monitoring | E31
58274301 | ST006580-04 | HC 41.174 AC/DC Power Supply | LV Power Systems | E31
58282257 | ST006540-28 | South Walker TSC | Substation | E31
58252180 | ST006580-03 | HC 41.174 Km PSC | Substation | E31
58252179 | ST006570-03 | HC 30.068 Km PSC | Substation | E31
58252178 | ST006560-03 | HC 18.106 Km PSC | Substation | E31
58252177 | ST006550-03 | HC 6.286 Km PSC | Substation | E31
58282254 | ST006610-01 | HC 0.160 Km PSC | Substation | E31
58279061 | ST006540-27 | South Walker TSC AC/DC Power Supply | LV Power Systems | E31
57086909 | ST006540-11 | SOUTH WALKER TSC - AT1 | Transformer | E31
58260823 | ST000760-15 | German Creek 191 Fault Locator | HV Monitoring | E31
58260822 | ST000750-28 | Norwich Park 331 Fault Locator | HV Monitoring | E31
58260821 | ST000740-14 | Saraji 321 Fault Locator | HV Monitoring | E31
58253544 | ST000730-30 | Peak Downs 311 Fault Locator | HV Monitoring | E31
58253543 | ST000720-15 | Red Mountain 301 Fault Locator | HV Monitoring | E31
58253542 | ST000710-59 | Coppabella 251/252 Fault Locator | HV Monitoring | E31
58253541 | ST000710-58 | Coppabella 241/242 Fault Locator | HV Monitoring | E31
58279081 | ST000700-47 | Wandoo 221/222 Fault Locator | HV Monitoring | E31
58252185 | ST000680-50 | Oonooie 201/202 Fault Locator | HV Monitoring | E31
57087200 | ST000210-38 | Grantleigh FS 121/122 Fault Locator | HV Monitoring | E31
58279060 | ST000700-41 | Wandoo FS AC/DC Power Supply | LV Power Systems | E31
58279073 | ST001380-04 | WA 95 Km PSC | Substation | E31
58283890 | ST001290-03 | VA 37.4 Km PSC | Substation | E31
58271909 | ST001430-04 | TH 135.5 Km PSC | Substation | E31
58287295 | ST000740-13 | Saraji TSC AC/DC Power Supply | LV Power Systems | E31
58283889 | ST001460-04 | RE 199.4 Km PSC | Substation | E31
58280238 | ST000720-14 | Red Mountain TSC AC/DC Power Supply | LV Power Systems | E31
58252175 | ST001270-05 | PS 15.3 Km PSC | Substation | E31
58274300 | ST001270-04 | PS 15.3 Km AC/DC Power Supply | LV Power Systems | E31
58287293 | ST000730-29 | Peak Downs FS AC/DC Power Supply | LV Power Systems | E31
58287378 | ST005330-01 | PD 53 Km PSC | Substation | E31
58274299 | ST000680-43 | Oonooie FS AC/DC Power Supply | LV Power Systems | E31
58279752 | ST001490-04 | Oaky Creek 77.223 km OC battery charger | LV Power Systems | E31
58287337 | ST001490-03 | OC 77.2 Km PSC | Substation | E31
58287292 | ST000750-27 | Norwich Park FS AC/DC Power Supply | LV Power Systems | E31
58287377 | ST001400-03 | NP 115.4 Km PSC | Substation | E31
58283888 | ST001780-03 | NG 207 Km PSC | Substation | E31
58283887 | ST001340-03 | MM 65.9 Km PSC | Substation | E31
58283886 | ST001310-03 | MM 55.5 Km PSC | Substation | E31
58283885 | ST005320-05 | MZ 0.5 Km PSC | Substation | E31
58283883 | ST001280-03 | MO 28.7 Km PSC | Substation | E31
58268875 | ST001410-04 | MI 123 Km PSC | Substation | E31
58288323 | ST001300-03 | HD 45.2 Km PSC | Substation | E31
58287291 | ST000760-14 | GC TSC 136.4 Km AC/DC Power Supply | LV Power Systems | E31
58280362 | ST005300-01 | SI-LV 83.1 Km PSC | Substation | E31
58260795 | ST001370-03 | DT-SS 94.202Km PSC | Substation | E31
58283790 | ST000710-57 | Coppabella FS AC/DC Power Supply | LV Power Systems | E31
58287374 | ST001420-03 | BD 126.2 Km PSC | Substation | E31
58283209 | ST001440-04 | BL 154.2 Km PSC East | Substation | E31
58288177 | ST007600-19 | Dalrymple Bay FS | Substation | E31
57071879 | ST007600-19 | Dalrymple Bay FS | Substation | E31
58274309 | ST007600-19 | Dalrymple Bay FS | Substation | E31
58288176 | ST000690-55 | Bolingbroke FS | Substation | E31
58274308 | ST000690-55 | Bolingbroke FS | Substation | E31
58282258 | ST000690-55 | Bolingbroke FS | Substation | E31
57091521 | ST007310-42 | Mindi FS | Substation | E31
58281561 | ST007310-42 | Mindi FS | Substation | E31
58281560 | ST001220-04 | BRMI 111 Km PSC | Substation | E31
58288219 | ST007520-02 | YY MI PSC | Substation | E31
58279086 | ST007490-18 | Black Mountain 201/202 Fault Locator | HV Monitoring | E31
58279085 | ST007490-17 | Black Mountain 601/602 Fault Locator | HV Monitoring | E31
58247570 | ST005470-21 | BALOOK TSC - AT4 | Transformer | E31
58247569 | ST005470-20 | BALOOK TSC - AT3 | Transformer | E31
58279084 | ST005470-12 | Balook 611/612 Fault Locator | HV Monitoring | E31
58247568 | ST005470-09 | BALOOK TSC - AT2 | Transformer | E31
58247567 | ST005470-08 | BALOOK TSC - AT1 | Transformer | E31
57091107 | ST007520-02 | YY MI PSC | Substation | E31
58280051 | ST007520-02 | YY MI PSC | Substation | E31
58268876 | ST001230-28 | Braeside TSC | Substation | E31
58249344 | ST001230-27 | BR/BS1-2 Protection Relay Panel | HV Protection | E31
58249343 | ST001230-26 | BR/222 Protection Relay Panel | HV Protection | E31
58249342 | ST001230-25 | BR/221 Protection Relay Panel | HV Protection | E31
58249341 | ST001230-24 | BR/272 Protection Relay Panel | HV Protection | E31
58249340 | ST001230-23 | BR/271 Protection Relay Panel | HV Protection | E31
58279063 | ST001230-22 | Braeside TSC AC/DC Power Supply | LV Power Systems | E31
58247576 | ST001230-15 | BRAESIDE TSC - AT2 | Transformer | E31
58247575 | ST001230-14 | BRAESIDE TSC - AT1 | Transformer | E31
58247574 | ST001230-13 | BRAESIDE TSC - AT4 | Transformer | E31
58247573 | ST001230-12 | BRAESIDE TSC - AT3 | Transformer | E31
58279083 | ST001230-11 | Braeside TSC 221/222 Fault Locator | HV Monitoring | E31
58279082 | ST001230-10 | Braeside TSC 271/272 Fault Locator | HV Monitoring | E31
58247602 | ST001230-09 | BR/BS1-2 Circuit Breaker | HV Switchgear | E31
58247601 | ST001230-08 | BR/222 Circuit Breaker | HV Switchgear | E31
58247600 | ST001230-07 | BR/221 Circuit Breaker | HV Switchgear | E31
58247599 | ST001230-06 | BR/272 Circuit Breaker | HV Switchgear | E31
58247598 | ST001230-05 | BR/271 Circuit Breaker | HV Switchgear | E31
58268882 | ST007310-26 | Mindi FS 281/282 Fault Locator | HV Monitoring | E31
58268881 | ST007310-25 | Mindi FS 271/272 Fault Locator | HV Monitoring | E31
58279062 | ST007310-24 | Mindi FS AC/DC Power Supply | LV Power Systems | E31
58281559 | ST001230-28 | Braeside TSC | Substation | E31
57089718 | ST001230-23 | BR/271 Protection Relay Panel | HV Protection | E31
57091652 | ST006650-07 | ME SER/CER/RTU/PER/ALT | Housing | E31
58252189 | ST006580-05 | HC 41.174 Km 233 Fault Locator | HV Monitoring | E31
58252188 | ST006570-04 | HC 30.068 Km 233 Fault Locator | HV Monitoring | E31
58252187 | ST006560-04 | HC 18.106 Km 233 Fault Locator | HV Monitoring | E31
58252186 | ST006550-04 | HC 6.286 Km 233 Fault Locator | HV Monitoring | E31
58268880 | ST006540-34 | South Walker 233 Fault Locator | HV Monitoring | E31
58268879 | ST006540-33 | South Walker 231/232 Fault Locator | HV Monitoring | E31
58279974 | ST009530-08 | Struan Road AT7 AC/DC P.Supply - Eltek | LV Power Systems | E31
58279973 | ST009540-07 | Struan Road AT6 AC/DC P.Supply - Eltek | LV Power Systems | E31
58279972 | ST009520-07 | Struan Road AT5 AC/DC P.Supply - Eltek | LV Power Systems | E31
58279971 | ST009510-08 | Struan Road AT4 AC/DC P.Supply - Eltek | LV Power Systems | E31
58263122 | ST009450-33 | Struan Rd FS SFC 87 Cooling System | SFC Cooling | E31
58263121 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
58279089 | ST000690-80 | Bolingbroke 611/612 Fault Locator | HV Monitoring | E31
58279088 | ST000690-79 | Bolingbroke 601/602 Fault Locator | HV Monitoring | E31
56046185 | ST000770-81 | Wotonga FS Eltek AC/DC Power Supply | LV Power Systems | E31
57089717 | ST000730-44 | Peak Downs FS Eltek AC/DC Power Supply | LV Power Systems | E31
58287297 | ST000750-48 | Norwich Park FS Eltek AC/DC Power Supply | LV Power Systems | E31
58287387 | ST008210-28 | MT TCU Eltek AC/DC Power Supply | LV Power Systems | E31
58287296 | ST007870-14 | LV TCU Eltek AC/DC Power Supply | LV Power Systems | E31
58274306 | ST007590-38 | Jilalan TSC Eltek Batttery Charger | LV Power Systems | E31
58274305 | ST007640-59 | Grasstree TSC Eltek AC/DC Power Supply | LV Power Systems | E31
58274304 | ST007600-80 | Dalrymple Bay FS Eltek AC/DC P.Supply | LV Power Systems | E31
58274303 | ST007490-53 | Black Mountain TSC Eltek AC/DC P.Supply | LV Power Systems | E31
58279064 | ST005470-58 | Balook TSC Eltek AC/DC Power Supply | LV Power Systems | E31
58260824 | ST005300-03 | SI-LV 83.1 Km PSC Fault Locator | HV Monitoring | E31
58279087 | ST001220-05 | BRMI 111 Km 271/272 PSC Fault Locator | HV Monitoring | E31
58267672 | ST009450-33 | Struan Rd FS SFC 87 Cooling System | SFC Cooling | E31
58270529 | ST009450-33 | Struan Rd FS SFC 87 Cooling System | SFC Cooling | E31
58273724 | ST009450-33 | Struan Rd FS SFC 87 Cooling System | SFC Cooling | E31
58260425 | ST009450-33 | Struan Rd FS SFC 87 Cooling System | SFC Cooling | E31
57067377 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
58267671 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
58270528 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
58273723 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
58260424 | ST009450-32 | Struan Rd FS SFC 88 Cooling System | SFC Cooling | E31
57089248 | ST000690-79 | Bolingbroke 601/602 Fault Locator | HV Monitoring | E31
58287298 | ST000730-44 | Peak Downs FS Eltek AC/DC Power Supply | LV Power Systems | E31
58280242 | ST000730-44 | Peak Downs FS Eltek AC/DC Power Supply | LV Power Systems | E31
58280241 | ST000750-48 | Norwich Park FS Eltek AC/DC Power Supply | LV Power Systems | E31
58280369 | ST008210-28 | MT TCU Eltek AC/DC Power Supply | LV Power Systems | E31
58280240 | ST007870-14 | LV TCU Eltek AC/DC Power Supply | LV Power Systems | E31
57089428 | ST007600-80 | Dalrymple Bay FS Eltek AC/DC P.Supply | LV Power Systems | E31
57090426 | ST001220-05 | BRMI 111 Km 271/272 PSC Fault Locator | HV Monitoring | E31
57078439 | SQ110040 | CY 512L Current Detector | HV Monitoring | E31
57085885 | SQ110020 | BG 155T Current Detector | HV Monitoring | E31
58261982 | SQ110003 | BR - NB 274A Current Detector | HV Monitoring | E31
58261981 | SQ110002 | BR - NB 273B Current Detector | HV Monitoring | E31
58280288 | ST009540-03 | SERM/AT1 91.500Km PSC | Substation | E31
57087978 | ST009530-03 | SERM/AT2 103.650Km PSC | Substation | E31
58287392 | SQ030694 | 331/10 Motorised Isolator | Isolators | E31
57083884 | SQ110020 | BG 155T Current Detector | HV Monitoring | E31
58288819 | ST009540-03 | SERM/AT1 91.500Km PSC | Substation | E31
58288818 | ST009530-03 | SERM/AT2 103.650Km PSC | Substation | E31
58280287 | ST009530-03 | SERM/AT2 103.650Km PSC | Substation | E31
58280374 | SQ030694 | 331/10 Motorised Isolator | Isolators | E31
58274036 | ST006005-08 | OD 11.416 km PSE | Substation | E31
58290197 | ST006025 | Olive Downs 27.808km PSE | Substation | E31
58287394 | ST006005-08 | OD 11.416 km PSE | Substation | E31
58280376 | ST006005-08 | OD 11.416 km PSE | Substation | E31
58274035 | ST006025 | Olive Downs 27.808km PSE | Substation | E31
58280899 | ST006025 | Olive Downs 27.808km PSE | Substation | E31
58293294 | ST007870-20 | Lake Vermont TCU 321 Fault Locator | HV Monitoring | E31
58281557 | ST001800-02 | WR 27.808 km PSE | Substation | E31
58283884 | ST005310-01 | WO 184.8 Km PSC | Substation | E31
58287379 | ST001800-02 | WR 27.808 km PSE | Substation | E31
58253524 | ST001800-02 | WR 27.808 km PSE | Substation | E31
57078697 | ST009450-63 | Schaffler 1Ø to 3Ø inverter | LV Power Systems | E31
58275951 | ST007520-05 | Yan Yan 50.12 km GG battery charger | LV Power Systems | E31
58287175 | ST007820-12 | GR AT PSC | Substation | E31
58286574 | ST009460-15 | YN AT PSC | Substation | E31
58278212 | ST007820-12 | GR AT PSC | Substation | E31
58286709 | ST009070-18 | EP MI North PSC | Substation | E31
58288844 | ST008210-32 | MT TCU Vesda Fire Detection System | HV Protection | E31
58288333 | ST008795-01 | Nebo MI Yard | Substation | E31
58291585 | ST008210-32 | MT TCU Vesda Fire Detection System | HV Protection | E31
58283892 | ST008210-32 | MT TCU Vesda Fire Detection System | HV Protection | E31
58281568 | ST008795-01 | Nebo MI Yard | Substation | E31
57091852 | ST004530-14 | BAJ-TLO Weighbridge | Electronic Weighbrid | E31
58230649 | ST009450-60 | STRUAN ROAD FS - SFC88/3PHASE | Transformer | E31
58230648 | ST009450-59 | STRUAN ROAD FS - SFC87/3PHASE | Transformer | E31
58230647 | ST009450-58 | STRUAN ROAD FS - SFC88/1PHASE | Transformer | E31
58230646 | ST009450-57 | STRUAN ROAD FS - SFC87/1PHASE | Transformer | E31
58243982 | ST009450-56 | SD/BS1-2 Protection Relay Panel | HV Protection | E31
58243981 | ST009450-55 | SD/C88 Protection Relay Panel | HV Protection | E31
58243980 | ST009450-54 | SD/C87 Protection Relay Panel | HV Protection | E31
58243979 | ST009450-53 | SD/881 Protection Relay Panel | HV Protection | E31
58243978 | ST009450-52 | SD/871 Protection Relay Panel | HV Protection | E31
58243977 | ST009440-46 | KN/BS1-2 Protection Relay Panel | HV Protection | E31
58243976 | ST009440-45 | KN/871 Protection Relay Panel | HV Protection | E31
58243975 | ST009440-44 | KN/155 Protection Relay Panel | HV Protection | E31
57088751 | ST007780-56 | KA/812 Protection Relay Panel | HV Protection | E31
57088750 | ST007780-55 | KA/811 Protection Relay Panel | HV Protection | E31
58277060 | ST007820-BC | GR 8.875KM AC/DC Power Supply | LV Power Systems | E31
57085220 | SQ110047 | EN 161E Current Detector | HV Monitoring | E31
58258452 | ST007750-61 | Westwood 821/822 Fault Locator | HV Monitoring | E31
58258451 | ST007750-60 | Westwood 111/112 Fault Locator | HV Monitoring | E31
58260827 | ST007880-04 | LV AT2 323 Fault Locator | HV Monitoring | E31
58260826 | ST007870-26 | Lake Vermont TCU 323 Fault Locator | HV Monitoring | E31
58277035 | ST007780-49 | KA TSC AC/DC Power Supply | LV Power Systems | E31
58247578 | ST001220-06 | BRAESIDE - MINDI ATS - AT1 | Transformer | E31
58279090 | ST005470-59 | Balook 211/212 Fault Locator | HV Monitoring | E31
58279977 | ST009500-07 | Kinrola AT3 AC/DC Power Supply - Eltek | LV Power Systems | E31
58279976 | ST009490-07 | Kinrola AT2 AC/DC Power Supply - Eltek | LV Power Systems | E31
58279975 | ST009480-07 | Kinrola AT1 AC/DC Power Supply - Eltek | LV Power Systems | E31
58277067 | ST008450-49 | Raglan CS | Substation | E31
58277077 | ST007780-37 | Kabra TSC | Substation | E31
57071962 | ST000730-38 | PD/HF1 Harmonic Filter | Power Quality | E31
58251492 | ST000700-56 | WO/HF2 Harmonic Filter | Power Quality | E31
58251491 | ST000700-55 | WO/HF1 Harmonic Filter | Power Quality | E31
57092323 | ST000680-66 | OE/HF2 Harmonic Filter | Power Quality | E31
57092322 | ST000680-65 | OE/HF1 Harmonic Filter | Power Quality | E31
57089683 | ST007600-72 | DL/HF1 Harmonic Fitler | Power Quality | E31
58225186 | ST000050-73 | BLUFF FS - T85 | Transformer | E31
58225185 | ST000050-72 | BLUFF FS - T86 | Transformer | E31
58258450 | ST008530-35 | Umolo TSC 851/852 Fault Locator | HV Monitoring | E31
58258449 | ST008530-34 | Umolo TSC 141/142 Fault Locator | HV Monitoring | E31
58288223 | ST008530-33 | Umolo TSC | Substation | E31
58258423 | ST008530-08 | UMOLO TSC - AT4 | Transformer | E31
58258422 | ST008530-07 | UMOLO TSC - AT3 | Transformer | E31
57090447 | ST008530-06 | UMOLO TSC - AT2 | Transformer | E31
58258420 | ST008530-05 | UMOLO TSC - AT1 | Transformer | E31
58252192 | ST007600-78 | Dalrymple Bay FS Fault Locator | HV Monitoring | E31
58283210 | ST009210-01 | Carborough Downs TSC | Substation | E31
58288332 | ST005990-07 | HP 1.200Km PSC | Substation | E31
58281567 | ST005990-07 | HP 1.200Km PSC | Substation | E31
58286704 | ST008450-49 | Raglan CS | Substation | E31
58287347 | ST007780-37 | Kabra TSC | Substation | E31
58278251 | ST007780-37 | Kabra TSC | Substation | E31
58277042 | ST007780-37 | Kabra TSC | Substation | E31
58277041 | ST008530-33 | Umolo TSC | Substation | E31
58277080 | ST008530-33 | Umolo TSC | Substation | E31
58280278 | ST008530-33 | Umolo TSC | Substation | E31
58258421 | ST008530-06 | UMOLO TSC - AT2 | Transformer | E31
58253526 | ST008500-01 | CA 1.3Km PSC | Substation | E31
58287385 | ST007880-03 | LV AT2 11 Km PSC | Substation | E31
58280366 | ST007870-12 | Lake Vermont TCU | Substation | E31
58281565 | ST007590-28 | Jilalan TSC | Substation | E31
58288179 | ST007640-47 | Grasstree TSC | Substation | E31
57090549 | ST008470-30 | BLACKWATER TSC - AT3 | Transformer | E31
58279970 | ST008470-09 | Blackwater TSC AC/DC Power Supply | LV Power Systems | E31
58280277 | ST008470-08 | Blackwater TSC | Substation | E31
58277078 | ST008020-50 | Wallaroo TSC | Substation | E31
57088808 | ST006630-64 | DUARINGA FS - T83 | Transformer | E31
57088810 | ST006630-63 | DUARINGA FS - T84 | Transformer | E31
58287346 | ST006630-31 | Duaringa FS | Substation | E31
57088809 | ST006630-06 | DUARINGA FS - AT3 | Transformer | E31
57088812 | ST006630-04 | DUARINGA FS - AT1 | Transformer | E31
58219713 | ST008450-05 | RAGLAN CS - T54 | Transformer | E31
58252191 | ST007640-46 | Grasstree TSC 901/902 Fault Locator | HV Monitoring | E31
57090441 | ST007640-45 | Grasstree TSC 916 Fault Locator | HV Monitoring | E31
57086650 | ST007870-11 | LV/323 Protection Relay Panel | HV Protection | E31
57089287 | ST007600-64 | DL/HF1 Protection Relay Panel | HV Protection | E31
58275949 | ST007790-12 | WHWD AT PSC AC/DC Power Supply | LV Power Systems | E31
58288817 | ST009520-01 | MOSE/AT2 78.650Km PSC | Substation | E31
58288816 | ST009510-03 | MOSE/AT1 67.500Km PSC | Substation | E31
57084777 | ST009450-23 | Struan Road FS | Substation | E31
58288814 | ST009500-03 | KMMO/AT1 41.100Km PSC | Substation | E31
58288813 | ST009490-03 | KM/AT1 26.500Km PSC | Substation | E31
57088666 | ST009480-03 | KNKM/AT1 12.100Km PSC | Substation | E31
57090716 | ST009440-11 | KINROLA TSY - AT2 | Transformer | E31
58288811 | ST009440-05 | Kinrola TSY | Substation | E31
57087976 | SQ030654 | 151/4 Isolator | Isolators | E31
57087979 | ST009470-01 | Kinrola PSC 15.040Km | Substation | E31
57086934 | SQ030560 | 901/5 Isolator | Isolators | E31
57088942 | SQ030481 | 852/2 Isolator | Isolators | E31
57089457 | SQ030469 | 241/22 Isolator | Isolators | E31
58286708 | ST009050-13 | EP MI South PSC | Substation | E31
58286707 | ST009080-10 | BL MI South PSC | Substation | E31
57088599 | SQ030303 | 602/2 Isolator | Isolators | E31
57089865 | SQ030260 | 632/24 Isolator | Isolators | E31
57088349 | SQ030253 | 311/5 Isolator | Isolators | E31
57084242 | SQ030228 | 908/7 Isolator | Isolators | E31
58280286 | ST009520-01 | MOSE/AT2 78.650Km PSC | Substation | E31
58280285 | ST009510-03 | MOSE/AT1 67.500Km PSC | Substation | E31
58288815 | ST009450-23 | Struan Road FS | Substation | E31
57075927 | ST009450-23 | Struan Road FS | Substation | E31
58277082 | ST009450-23 | Struan Road FS | Substation | E31
56046286 | ST009450-23 | Struan Road FS | Substation | E31
58280284 | ST009450-23 | Struan Road FS | Substation | E31
58280283 | ST009500-03 | KMMO/AT1 41.100Km PSC | Substation | E31
58280282 | ST009490-03 | KM/AT1 26.500Km PSC | Substation | E31
58288812 | ST009480-03 | KNKM/AT1 12.100Km PSC | Substation | E31
58280281 | ST009480-03 | KNKM/AT1 12.100Km PSC | Substation | E31
57075928 | ST009440-05 | Kinrola TSY | Substation | E31
58277081 | ST009440-05 | Kinrola TSY | Substation | E31
58280280 | ST009440-05 | Kinrola TSY | Substation | E31
58288810 | ST009470-01 | Kinrola PSC 15.040Km | Substation | E31
58280279 | ST009470-01 | Kinrola PSC 15.040Km | Substation | E31
57090481 | SQ030228 | 908/7 Isolator | Isolators | E31
57088583 | SQ030207 | 622/2 Isolator | Isolators | E31
57089587 | SQ020256 | 311A/311B 311/2 SW Section Insulator | Section Insulator | E31
57087977 | SQ030054 | 152/3 Isolator | Isolators | E31
58283893 | ST009290-01 | CAVAL RIDGE ATS - AT1 | Transformer | E31
57090638 | ST007600-78 | Dalrymple Bay FS Fault Locator | HV Monitoring | E31
57090560 | ST009210-24 | CARBOROUGH DOWNS TSC - AT3 | Transformer | E31
57090602 | ST009210-01 | Carborough Downs TSC | Substation | E31
58283891 | ST009190-01 | Grosvenor TSC | Substation | E31
58252181 | ST005990-07 | HP 1.200Km PSC | Substation | E31
58286712 | ST007630-02 | CY 536.233 Km PSC | Substation | E31
58286706 | ST009140-02 | CN 2.097 Km PSC | Substation | E31
58286705 | ST009130-01 | CN 2.780 Km PSC | Substation | E31
58277033 | ST007730-47 | ML TSC AC/DC Power Supply | LV Power Systems | E31
58283879 | ST001720-01 | MM 59.0 Km PSC | Substation | E31
58283878 | ST001710-01 | VA 38.0 Km PSC | Substation | E31
58283877 | ST001480-02 | NG 212.2 Km PSC | Substation | E31
58283876 | ST001690-01 | NG 200.85 Km PSC | Substation | E31
58283875 | ST001470-02 | GA 195.5 Km PSC | Substation | E31
58283208 | ST001450-02 | MA 168.1Km PSC | Substation | E31
58253516 | ST001680-01 | CA 142.7 Km PSC | Substation | E31
58268874 | ST001660-01 | MI 120.5 Km PSC | Substation | E31
58279071 | ST001650-01 | BE 107.8 Km PSC | Substation | E31
58279070 | ST001640-01 | WA 98.1 Km PSC | Substation | E31
58279069 | ST001630-01 | WO 85.9 Km PSC | Substation | E31
58279068 | ST001620-01 | BK 74.619 Km PSC | Substation | E31
58288317 | ST001610-01 | BO 60.5 Km PSC | Substation | E31
58282244 | ST001600-01 | HD 49.7 Km PSC | Substation | E31
58252174 | ST001540-01 | JN 21.9 Km PSC | Substation | E31
58252173 | ST001520-01 | JN 19.4 Km PSC | Substation | E31
58247593 | ST000700-28 | WANDOO FS - T22 | Transformer | E31
58247592 | ST000700-27 | WANDOO FS - T21 | Transformer | E31
57089680 | ST000680-27 | OONOOIE FS - T90 | Transformer | E31
58247584 | ST001220-03 | BRAESIDE - MINDI ATS - AT2 | Transformer | E31
58247582 | ST001380-01 | WANDOO - WAITARA ATS - AT1 | Transformer | E31
58247566 | ST000700-26 | WANDOO FS - AT4 | Transformer | E31
58247565 | ST000700-25 | WANDOO FS - AT3 | Transformer | E31
58247564 | ST000700-24 | WANDOO FS - AT1 | Transformer | E31
58247563 | ST000700-23 | WANDOO FS - AT2 | Transformer | E31
57090437 | ST001360-01 | BLACKRIDGE ATS - AT1 | Transformer | E31
58247587 | ST001350-02 | BALOOK-WANDOO ATS - AT2 | Transformer | E31
58247603 | ST001350-01 | BALOOK-WANDOO ATS - AT1 | Transformer | E31
56046166 | ST001330-01 | BOLINGBROKE ATS - AT1 | Transformer | E31
57090897 | ST000690-09 | BOLINGBROKE FS - AT1 | Transformer | E31
57089016 | ST000690-07 | BOLINGBROKE FS - AT4 | Transformer | E31
57090443 | ST000790-08 | VILLAFRANCA TSC - AT1 | Transformer | E31
58253532 | ST000720-07 | RM/BS1-2 Circuit Breaker | HV Switchgear | E31
58253531 | ST000720-06 | RM/301 Circuit Breaker | HV Switchgear | E31
58253530 | ST000720-05 | RM/241 Circuit Breaker | HV Switchgear | E31
56045729 | ST000750-13 | NP/321 Circuit Breaker | HV Switchgear | E31
58251501 | ST000700-22 | WO/BS1-2 Circuit Breaker | HV Switchgear | E31
58251500 | ST000700-21 | WO/222 Circuit Breaker | HV Switchgear | E31
58251499 | ST000700-20 | WO/221 Circuit Breaker | HV Switchgear | E31
58251498 | ST000700-19 | WO/212 Circuit Breaker | HV Switchgear | E31
58251497 | ST000700-18 | WO/211 Circuit Breaker | HV Switchgear | E31
58251496 | ST000700-17 | WO/HF2 Circuit Breaker | HV Switchgear | E31
58251495 | ST000700-16 | WO/HF1 Circuit Breaker | HV Switchgear | E31
57091083 | ST000700-15 | WO/G22 Circuit Breaker | HV Switchgear | E31
58251493 | ST000700-14 | WO/G21 Circuit Breaker | HV Switchgear | E31
57081979 | ST000760-04 | German Creek TSC | Substation | E31
58287365 | ST000740-03 | Saraji TSC | Substation | E31
58280354 | ST000720-04 | Red Mountain TSC | Substation | E31
58274296 | ST001540-02 | JN 21.9 Km AC/DC Power Supply | LV Power Systems | E31
58275273 | ST001520-02 | JN 19.4 Km AC/DC Power Supply | LV Power Systems | E31
58252671 | ST000720-13 | RM/BS1-2 Protection Relay Panel | HV Protection | E31
58252670 | ST000720-12 | RM/301 Protection Relay Panel | HV Protection | E31
58252669 | ST000720-11 | RM/241 Protection Relay Panel | HV Protection | E31
57092248 | ST000790-10 | VA/411 Protection Relay Panel | HV Protection | E31
58251489 | ST000700-40 | WO/BS1-2 Protection Relay Panel | HV Protection | E31
58251488 | ST000700-39 | WO/222 Protection Relay Panel | HV Protection | E31
58251487 | ST000700-38 | WO/221 Protection Relay Panel | HV Protection | E31
58251486 | ST000700-37 | WO/212 Protection Relay Panel | HV Protection | E31
58251485 | ST000700-36 | WO/211 Protection Relay Panel | HV Protection | E31
58251484 | ST000700-35 | WO/HF2 Protection Relay Panel | HV Protection | E31
58251483 | ST000700-34 | WO/HF1 Protection Relay Panel | HV Protection | E31
58251482 | ST000700-33 | WO/G22 Protection Relay Panel | HV Protection | E31
58251481 | ST000700-32 | WO/G21 Protection Relay Panel | HV Protection | E31
58260748 | ST001490-02 | OC 77.2 Km 191 Fault Locator | HV Monitoring | E31
58260820 | ST001420-02 | BD 126.2 Km 331 Fault Locator | HV Monitoring | E31
58260819 | ST001400-02 | NP 115.4 Km 331 Fault Locator | HV Monitoring | E31
58260818 | ST001370-02 | DT-SS 94.202Km Fault Locator | HV Monitoring | E31
58260817 | ST001320-03 | SI 64.3 Km Fault Locator | HV Monitoring | E31
58253540 | ST000730-21 | PD 53 Km Fault Locator | HV Monitoring | E31
58253539 | ST001800-01 | WR 30 Km Fault Locator | HV Monitoring | E31
58253538 | ST001260-03 | IN 11.7 Km 241/242 Fault Locator | HV Monitoring | E31
57087216 | ST001390-03 | BA 103.5 Km Fault Locator | HV Monitoring | E31
58271923 | ST001430-03 | TH 135.5 231/232 Km Fault Locator | HV Monitoring | E31
58268877 | ST001410-03 | MI 123 Km 281/282 Fault Locator | HV Monitoring | E31
58279080 | ST001380-03 | WA 95 Km 221/222 Fault Locator | HV Monitoring | E31
58279079 | ST001350-03 | BK 76.8 Km 211/212 Fault Locator | HV Monitoring | E31
58279078 | ST001330-03 | BO 65.9 Km Fault Locator | HV Monitoring | E31
58279077 | ST001300-02 | HD 45.2 Km 601/602 Fault Locator | HV Monitoring | E31
58252184 | ST001270-03 | PS 15.3 Km Fault Locator | HV Monitoring | E31
58260816 | ST000760-10 | German Creek 331 Fault Locator | HV Monitoring | E31
58260815 | ST000740-09 | Saraji 311 Fault Locator | HV Monitoring | E31
58253535 | ST000720-10 | Red Mountain 241 Fault Locator | HV Monitoring | E31
58260814 | ST000750-19 | Norwich Park 321 Fault Locator | HV Monitoring | E31
58253534 | ST000730-20 | Peak Downs 301 Fault Locator | HV Monitoring | E31
57087215 | ST000780-15 | Moranbah South 401 Fault Locator | HV Monitoring | E31
58253533 | ST000710-42 | Coppabella 231/232 Fault Locator | HV Monitoring | E31
58279076 | ST000700-31 | Wandoo 211/212 Fault Locator | HV Monitoring | E31
58252183 | ST000680-31 | Oonooie 901/902 Fault Locator | HV Monitoring | E31
58281520 | ST001770-01 | BD 129.64 Km PSC | Substation | E31
58287371 | ST001760-01 | SI 65.14 Km PSC | Substation | E31
58287370 | ST001750-01 | DT 88.4 Km PSC | Substation | E31
58260791 | ST001320-02 | SI 64.3 Km PSC | Substation | E31
58287368 | ST001740-01 | PD 43.789 Km PSC | Substation | E31
58287367 | ST001260-02 | IN 11.7 Km PSC | Substation | E31
58282249 | ST001730-01 | CA 145.3 Km PSC | Substation | E31
58283881 | ST001390-02 | BA 103.5 Km PSC | Substation | E31
58283880 | ST001360-02 | BR 85.5 Km PSC | Substation | E31
58287372 | ST001770-01 | BD 129.64 Km PSC | Substation | E31
58280896 | ST001770-01 | BD 129.64 Km PSC | Substation | E31
58260793 | ST001760-01 | SI 65.14 Km PSC | Substation | E31
57091969 | ST001760-01 | SI 65.14 Km PSC | Substation | E31
58280359 | ST001760-01 | SI 65.14 Km PSC | Substation | E31
58260792 | ST001750-01 | DT 88.4 Km PSC | Substation | E31
58280358 | ST001750-01 | DT 88.4 Km PSC | Substation | E31
58280357 | ST001320-02 | SI 64.3 Km PSC | Substation | E31
58287369 | ST001320-02 | SI 64.3 Km PSC | Substation | E31
58277109 | ST001740-01 | PD 43.789 Km PSC | Substation | E31
58280356 | ST001740-01 | PD 43.789 Km PSC | Substation | E31
58253519 | ST001260-02 | IN 11.7 Km PSC | Substation | E31
58280895 | ST001260-02 | IN 11.7 Km PSC | Substation | E31
58253518 | ST001730-01 | CA 145.3 Km PSC | Substation | E31
57090427 | ST001480-02 | NG 212.2 Km PSC | Substation | E31
58282248 | ST001680-01 | CA 142.7 Km PSC | Substation | E31
57090438 | ST001660-01 | MI 120.5 Km PSC | Substation | E31
58281553 | ST001660-01 | MI 120.5 Km PSC | Substation | E31
58281552 | ST001650-01 | BE 107.8 Km PSC | Substation | E31
58281551 | ST001640-01 | WA 98.1 Km PSC | Substation | E31
58282247 | ST001630-01 | WO 85.9 Km PSC | Substation | E31
58282246 | ST001620-01 | BK 74.619 Km PSC | Substation | E31
58252673 | ST001610-01 | BO 60.5 Km PSC | Substation | E31
58282245 | ST001610-01 | BO 60.5 Km PSC | Substation | E31
58288316 | ST001600-01 | HD 49.7 Km PSC | Substation | E31
58252672 | ST001600-01 | HD 49.7 Km PSC | Substation | E31
58288315 | ST001540-01 | JN 21.9 Km PSC | Substation | E31
58282243 | ST001540-01 | JN 21.9 Km PSC | Substation | E31
58288314 | ST001520-01 | JN 19.4 Km PSC | Substation | E31
58282242 | ST001520-01 | JN 19.4 Km PSC | Substation | E31
58251494 | ST000700-15 | WO/G22 Circuit Breaker | HV Switchgear | E31
58287366 | ST000760-04 | German Creek TSC | Substation | E31
58280355 | ST000760-04 | German Creek TSC | Substation | E31
58281550 | ST000740-03 | Saraji TSC | Substation | E31
58284617 | ST000720-04 | Red Mountain TSC | Substation | E31
57088595 | ST000720-04 | Red Mountain TSC | Substation | E31
58287364 | ST000720-04 | Red Mountain TSC | Substation | E31
57079543 | ST000720-04 | Red Mountain TSC | Substation | E31
58280248 | ST000720-04 | Red Mountain TSC | Substation | E31
58280353 | ST000750-08 | Norwich Park FS | Substation | E31
58287362 | ST000730-08 | Peak Downs FS | Substation | E31
58280352 | ST000730-08 | Peak Downs FS | Substation | E31
57088455 | ST000800-08 | Mount McLaren FS | Substation | E31
58283873 | ST000800-08 | Mount McLaren FS | Substation | E31
58274307 | ST000700-13 | Wandoo FS | Substation | E31
58288313 | ST000680-13 | Oonooie FS | Substation | E31
58281548 | ST000680-13 | Oonooie FS | Substation | E31
58247572 | ST001380-02 | WANDOO - WAITARA ATS - AT2 | Transformer | E31
57090676 | ST000690 | Bolingbroke FS | Site | E31
58283874 | ST000790-04 | Villafranca TSC | Substation | E31
58283207 | ST000770-07 | Wotonga FS | Substation | E31
58287363 | ST000750-08 | Norwich Park FS | Substation | E31
58286664 | ST000730-08 | Peak Downs FS | Substation | E31
57089104 | ST000800-08 | Mount McLaren FS | Substation | E31
58283872 | ST000780-09 | Moranbah South TSC | Substation | E31
58281549 | ST000710-18 | Coppabella FS | Substation | E31
57090586 | ST000700-13 | Wandoo FS | Substation | E31
58286663 | ST000680-13 | Oonooie FS | Substation | E31
58274954 | ST000090-04 | Red Rock TSC | Substation | E31
58277083 | ST000090-04 | Red Rock TSC | Substation | E31
58280045 | ST000090-04 | Red Rock TSC | Substation | E31
58277070 | ST000050-08 | Bluff FS | Substation | E31
58280264 | ST000050-08 | Bluff FS | Substation | E31
58277068 | ST000020-08 | Wycarbah FS | Substation | E31
58277037 | ST000020-08 | Wycarbah FS | Substation | E31
58278227 | ST000020-08 | Wycarbah FS | Substation | E31
58286693 | ST000150-09 | Raglan FS | Substation | E31
58274953 | ST000460-06 | YAN YAN TCU | Substation | E31
58277085 | ST000460-06 | YAN YAN TCU | Substation | E31
58280044 | ST000460-06 | YAN YAN TCU | Substation | E31
58260848 | ST000070-06 | Burngrove TCU | Substation | E31
58273002 | ST000070-06 | Burngrove TCU | Substation | E31
58280263 | ST000070-06 | Burngrove TCU | Substation | E31
58288198 | ST000110-07 | Gregory FS | Substation | E31
58277084 | ST000110-07 | Gregory FS | Substation | E31
57085520 | ST000340-18 | Rangal FS | Substation | E31
57086693 | ST000340-18 | Rangal FS | Substation | E31
57086682 | ST000340-18 | Rangal FS | Substation | E31
57086683 | ST000340-18 | Rangal FS | Substation | E31
57086684 | ST000340-18 | Rangal FS | Substation | E31
58288197 | ST000340-18 | Rangal FS | Substation | E31
58277073 | ST000340-18 | Rangal FS | Substation | E31
58279978 | ST000340-18 | Rangal FS | Substation | E31
58288196 | ST000040-12 | Dingo TSC | Substation | E31
58277069 | ST000040-12 | Dingo TSC | Substation | E31
58280262 | ST000040-12 | Dingo TSC | Substation | E31
58287328 | ST000210-10 | Grantleigh FS | Substation | E31
58277072 | ST000210-10 | Grantleigh FS | Substation | E31
58286692 | ST000160-13 | Rocklands TSC | Substation | E31
57088029 | ST000120-13 | CALLEMONDAH FS | Substation | E31
58277063 | ST000120-13 | CALLEMONDAH FS | Substation | E31
58286691 | ST000120-13 | CALLEMONDAH FS | Substation | E31
58280234 | ST001770-02 | Bundoora 129.64 km OC battery charger | LV Power Systems | E31
58280233 | ST001760-02 | Saraji 65.146 km OC battery charger | LV Power Systems | E31
58280232 | ST001750-02 | Dysart 88.4 km OC battery charger | LV Power Systems | E31
58280231 | ST001740-02 | PD 43.789 Km AC/DC Power Supply | LV Power Systems | E31
58279057 | ST001650-02 | BRAESIDE 107.800 km BATTERY CHARGER | LV Power Systems | E31
58274297 | ST001600-02 | HATFIELD 49.752 km BATTERY CHARGER | LV Power Systems | E31
58277025 | ST001960-04 | DINGO ATS 140.896 km BATTERY CHARGER | LV Power Systems | E31
58277024 | ST000040-30 | Dingo TSC AC/DC Power Supply | LV Power Systems | E31
58277023 | ST001920-05 | TL AT AC/DC Power Supply | LV Power Systems | E31
57087201 | ST002140-03 | WN PSC AC/DC Power Supply | LV Power Systems | E31
58275633 | ST000090-15 | Red Rock TSC AC/DC Power Supply | LV Power Systems | E31
58277022 | ST002120-02 | WYCARBAH 36.695 km BATTERY CHARGER | LV Power Systems | E31
58277021 | ST000020-26 | Wycarbah FS AC/DC Power Supply | LV Power Systems | E31
58275632 | ST002340-01 | WR MI AC/DC Power Supply | LV Power Systems | E31
58275631 | ST001910-06 | Warren 22.794 km CW battery charger | LV Power Systems | E31
58279750 | ST001990-04 | Korilgah-Taurus 12.676km LM batt charger | LV Power Systems | E31
58279960 | ST002290-02 | BG MI AC/DC Power Supply | LV Power Systems | E31
58277020 | ST000160-35 | Rocklands TSC AC/DC Power Supply | LV Power Systems | E31
58275630 | ST000460-12 | Yan Yan TCU AC/DC Power Supply | LV Power Systems | E31
57091084 | ST000020-25 | WH/812 Protection Relay Panel | HV Protection | E31
58239770 | ST000340-63 | RL/155 Protection Relay Panel | HV Protection | E31
58239769 | ST000340-62 | RL/153 Protection Relay Panel | HV Protection | E31
58239768 | ST000340-61 | RL/152 Protection Relay Panel | HV Protection | E31
58239767 | ST000340-60 | RL/151 Protection Relay Panel | HV Protection | E31
58239766 | ST000340-59 | RL/161 Protection Relay Panel | HV Protection | E31
58239765 | ST000340-58 | RL/171 Protection Relay Panel | HV Protection | E31
58239764 | ST000340-57 | RL/C17 Protection Relay Panel | HV Protection | E31
58239763 | ST000340-55 | RL/BS2-3 Protection Relay Panel | HV Protection | E31
58239762 | ST000340-54 | RL/O16 Protection Relay Panel | HV Protection | E31
58239761 | ST000340-52 | RL/BS1-2 Protection Relay Panel | HV Protection | E31
58239760 | ST000340-51 | RL/C15 Protection Relay Panel | HV Protection | E31
58249246 | ST000040-29 | DO/131 Protection Relay Panel | HV Protection | E31
58249245 | ST000040-28 | DO/132 Protection Relay Panel | HV Protection | E31
58249244 | ST000040-27 | DO/142 Protection Relay Panel | HV Protection | E31
58249243 | ST000040-26 | DO/141 Protection Relay Panel | HV Protection | E31
58234753 | ST000070-10 | BU AT1 161 Fault Locator | HV Monitoring | E31
58280050 | ST002330-01 | GG MI PSC | Substation | E31
58288217 | ST002060-02 | MZ AT PSC | Substation | E31
58288216 | ST002320-01 | MZ MI PSC | Substation | E31
58280047 | ST002050-02 | CW AT PSC | Substation | E31
58288809 | ST002290-01 | BG MI PSC | Substation | E31
58288214 | ST001990-02 | TS AT PSC | Substation | E31
58280046 | ST002280-01 | BR MI PSC West | Substation | E31
58288212 | ST001850-02 | BO MI PSC | Substation | E31
58288211 | ST001980-03 | BO PSC | Substation | E31
58288210 | ST001840-02 | BF 2MC PSC | Substation | E31
58288209 | ST002260-01 | BF 1MC PSC | Substation | E31
58288208 | ST001970-03 | WA AT PSC | Substation | E31
58288207 | ST001960-02 | DO AT PSC | Substation | E31
58288206 | ST002210-01 | TA MI PSC | Substation | E31
58288205 | ST001950-03 | TA AT PSC | Substation | E31
58278239 | ST001940-03 | WO AT PSC | Substation | E31
58278238 | ST002200-01 | WO MI PSC | Substation | E31
58282251 | ST001330-04 | BO 65.9 Km PSC | Substation | E31
58279072 | ST001350-05 | BK 76.8 Km PSC | Substation | E31
58283882 | ST001790-02 | BR 94.5 Km PSC | Substation | E31
58282256 | ST006580-03 | HC 41.174 Km PSC | Substation | E31
58282255 | ST006570-03 | HC 30.068 Km PSC | Substation | E31
58284821 | ST006560-03 | HC 18.106 Km PSC | Substation | E31
58284820 | ST006550-03 | HC 6.286 Km PSC | Substation | E31
58252176 | ST006610-01 | HC 0.160 Km PSC | Substation | E31
58282253 | ST001380-04 | WA 95 Km PSC | Substation | E31
58281558 | ST001430-04 | TH 135.5 Km PSC | Substation | E31
58280239 | ST000740-13 | Saraji TSC AC/DC Power Supply | LV Power Systems | E31
58287294 | ST000720-14 | Red Mountain TSC AC/DC Power Supply | LV Power Systems | E31
58288324 | ST001270-05 | PS 15.3 Km PSC | Substation | E31
58281556 | ST001270-05 | PS 15.3 Km PSC | Substation | E31
58280237 | ST000730-29 | Peak Downs FS AC/DC Power Supply | LV Power Systems | E31
58253523 | ST005330-01 | PD 53 Km PSC | Substation | E31
58280363 | ST005330-01 | PD 53 Km PSC | Substation | E31
58287174 | ST001490-04 | Oaky Creek 77.223 km OC battery charger | LV Power Systems | E31
58260741 | ST001490-03 | OC 77.2 Km PSC | Substation | E31
57090442 | ST001490-03 | OC 77.2 Km PSC | Substation | E31
58280275 | ST001490-03 | OC 77.2 Km PSC | Substation | E31
58280236 | ST000750-27 | Norwich Park FS AC/DC Power Supply | LV Power Systems | E31
58260797 | ST001400-03 | NP 115.4 Km PSC | Substation | E31
58281555 | ST001400-03 | NP 115.4 Km PSC | Substation | E31
58281554 | ST001410-04 | MI 123 Km PSC | Substation | E31
58253522 | ST001300-03 | HD 45.2 Km PSC | Substation | E31
57090439 | ST001300-03 | HD 45.2 Km PSC | Substation | E31
58282252 | ST001300-03 | HD 45.2 Km PSC | Substation | E31
57090422 | ST000760-14 | GC TSC 136.4 Km AC/DC Power Supply | LV Power Systems | E31
58280235 | ST000760-14 | GC TSC 136.4 Km AC/DC Power Supply | LV Power Systems | E31
58287376 | ST005300-01 | SI-LV 83.1 Km PSC | Substation | E31
58260796 | ST005300-01 | SI-LV 83.1 Km PSC | Substation | E31
58280361 | ST001370-03 | DT-SS 94.202Km PSC | Substation | E31
58287375 | ST001370-03 | DT-SS 94.202Km PSC | Substation | E31
58260794 | ST001420-03 | BD 126.2 Km PSC | Substation | E31
58280360 | ST001420-03 | BD 126.2 Km PSC | Substation | E31
58253520 | ST001330-04 | BO 65.9 Km PSC | Substation | E31
58282250 | ST001350-05 | BK 76.8 Km PSC | Substation | E31
57087837 | BW-0155 | Rangal FS to Kinrola TSY | Electrical Section | E31
58277031 | ST001900-06 | Midgee 624.379 km N battery charger | LV Power Systems | E31
58277030 | ST002100-02 | ME MI AC/DC Power Supply | LV Power Systems | E31
58277029 | ST001890-07 | Archer 615.165 km N battery charger | LV Power Systems | E31
58277028 | ST001880-06 | MR AC/DC Power Supply | LV Power Systems | E31
58277027 | ST002080-02 | MM MI AC/DC Power Supply | LV Power Systems | E31
58272904 | ST000070-12 | Burngrove TCU AC/DC Power Supply | LV Power Systems | E31
58279968 | ST000340-64 | Rangal FS AC/DC Power Supply | LV Power Systems | E31
58277026 | ST002350-01 | UMO-AT0 AC/DC Power Supply | LV Power Systems | E31
58288213 | ST002280-01 | BR MI PSC West | Substation | E31
58280272 | ST001850-02 | BO MI PSC | Substation | E31
58280271 | ST001980-03 | BO PSC | Substation | E31
58280270 | ST001840-02 | BF 2MC PSC | Substation | E31
58280269 | ST002260-01 | BF 1MC PSC | Substation | E31
58280268 | ST001970-03 | WA AT PSC | Substation | E31
58280267 | ST001960-02 | DO AT PSC | Substation | E31
58280266 | ST002210-01 | TA MI PSC | Substation | E31
58280265 | ST001950-03 | TA AT PSC | Substation | E31
58288204 | ST001940-03 | WO AT PSC | Substation | E31
58288203 | ST002200-01 | WO MI PSC | Substation | E31
58278237 | ST001930-03 | AN AT PSC | Substation | E31
58287335 | ST002180-01 | EG MI PSC | Substation | E31
57088032 | ST002150-01 | WN MI PSC | Substation | E31
58287333 | ST002150-01 | WN MI PSC | Substation | E31
58287332 | ST002140-01 | WN PSC | Substation | E31
58287331 | ST002120-01 | WH MI PSC | Substation | E31
58278231 | ST001910-03 | WR AT PSC | Substation | E31
58286697 | ST001820-02 | RA MI North PSC | Substation | E31
58234730 | ST000070-08 | BURNGROVE TCU - AT1 | Transformer | E31
58239801 | ST000340-23 | RL/O16 Circuit Breaker | HV Switchgear | E31
58249242 | ST000040-25 | DO/BS1-2 Protection Relay Panel | HV Protection | E31
57088788 | ST000340-47 | RL AT2 Fault Locator | HV Monitoring | E31
58287334 | ST001920-03 | TL AT PSC | Substation | E31
58286700 | ST002100-01 | ME MI PSC | Substation | E31
58278235 | ST001920-03 | TL AT PSC | Substation | E31
58288202 | ST000090-04 | Red Rock TSC | Substation | E31
58288201 | ST000050-08 | Bluff FS | Substation | E31
58287329 | ST000020-08 | Wycarbah FS | Substation | E31
58277064 | ST000150-09 | Raglan FS | Substation | E31
58288200 | ST000460-06 | YAN YAN TCU | Substation | E31
58288199 | ST000070-06 | Burngrove TCU | Substation | E31
58280043 | ST000110-07 | Gregory FS | Substation | E31
58280042 | ST000340-18 | Rangal FS | Substation | E31
57086687 | ST000040-12 | Dingo TSC | Substation | E31
58278226 | ST000210-10 | Grantleigh FS | Substation | E31
58277071 | ST000160-13 | Rocklands TSC | Substation | E31
57088028 | ST000120-13 | CALLEMONDAH FS | Substation | E31
58288784 | ST001770-02 | Bundoora 129.64 km OC battery charger | LV Power Systems | E31
58287290 | ST001760-02 | Saraji 65.146 km OC battery charger | LV Power Systems | E31
58287289 | ST001750-02 | Dysart 88.4 km OC battery charger | LV Power Systems | E31
58287288 | ST001740-02 | PD 43.789 Km AC/DC Power Supply | LV Power Systems | E31
58279059 | ST001730-02 | COPPABELLA 145.381 km BATTERY CHARGER | LV Power Systems | E31
58279058 | ST001660-02 | MI 120.5 Km AC/DC Power Supply | LV Power Systems | E31
57088378 | ST001650-02 | BRAESIDE 107.800 km BATTERY CHARGER | LV Power Systems | E31
58279056 | ST001630-02 | WANDOO 85.955 km BATTERY CHARGER | LV Power Systems | E31
58279055 | ST001620-04 | BALOOK 76.783 km BATTERY CHARGER | LV Power Systems | E31
58274298 | ST001610-02 | BO 60.5 Km AC/DC Power Supply | LV Power Systems | E31
57092001 | ST001600-02 | HATFIELD 49.752 km BATTERY CHARGER | LV Power Systems | E31
58287336 | ST001930-03 | AN AT PSC | Substation | E31
58278236 | ST002180-01 | EG MI PSC | Substation | E31
58278234 | ST002150-01 | WN MI PSC | Substation | E31
58278233 | ST002140-01 | WN PSC | Substation | E31
58278232 | ST002120-01 | WH MI PSC | Substation | E31
58287330 | ST001910-03 | WR AT PSC | Substation | E31
58286701 | ST001900-03 | ME AT PSC | Substation | E31
58286699 | ST001890-03 | AR AT PSC | Substation | E31
58286698 | ST001880-03 | MR PSC | Substation | E31
57087152 | ST001820-02 | RA MI North PSC | Substation | E31
58286696 | ST001870-03 | EP AT PSC | Substation | E31
58286695 | ST001860-03 | AA MI PSC | Substation | E31
58286694 | ST002080-01 | MM MI PSC | Substation | E31
57088813 | ST002050-01 | CREW ATS - AT1 | Transformer | E31
58230638 | ST000070-08 | BURNGROVE TCU - AT1 | Transformer | E31
57088621 | ST000020-15 | WYCARBAH FS - AT4 | Transformer | E31
57088620 | ST000020-14 | WYCARBAH FS - AT3 | Transformer | E31
57090820 | ST000160-24 | ROCKLANDS TSC - AT5 | Transformer | E31
57090821 | ST001870-02 | EPALA ATS - AT2 | Transformer | E31
58239809 | ST000340-32 | RL/155 Circuit Breaker | HV Switchgear | E31
58239808 | ST000340-31 | RL/153 Circuit Breaker | HV Switchgear | E31
58239807 | ST000340-30 | RL/152 Circuit Breaker | HV Switchgear | E31
58239806 | ST000340-29 | RL/151 Circuit Breaker | HV Switchgear | E31
58239805 | ST000340-28 | RL/161 Circuit Breaker | HV Switchgear | E31
58239804 | ST000340-27 | RL/171 Circuit Breaker | HV Switchgear | E31
58239803 | ST000340-26 | RL/C17 Circuit Breaker | HV Switchgear | E31
58239802 | ST000340-24 | RL/BS2-3 Circuit Breaker | HV Switchgear | E31
56045623 | ST000340-23 | RL/O16 Circuit Breaker | HV Switchgear | E31
58239800 | ST000340-21 | RL/BS1-2 Circuit Breaker | HV Switchgear | E31
58239799 | ST000340-20 | RL/C15 Circuit Breaker | HV Switchgear | E31
57087202 | ST002100-02 | ME MI AC/DC Power Supply | LV Power Systems | E31
58249258 | ST000070-12 | Burngrove TCU AC/DC Power Supply | LV Power Systems | E31
58279751 | ST001970-05 | WALTON 162.202 km BATTERY CHARGER | LV Power Systems | E31
57090601 | ST000020-25 | WH/812 Protection Relay Panel | HV Protection | E31
57089354 | ST002330-01 | GG MI PSC | Substation | E31
58288218 | ST002330-01 | GG MI PSC | Substation | E31
57091106 | ST002060-02 | MZ AT PSC | Substation | E31
58280049 | ST002060-02 | MZ AT PSC | Substation | E31
58280048 | ST002320-01 | MZ MI PSC | Substation | E31
57091105 | ST002050-02 | CW AT PSC | Substation | E31
58280274 | ST002290-01 | BG MI PSC | Substation | E31
58280273 | ST001990-02 | TS AT PSC | Substation | E31
57089353 | ST002280-01 | BR MI PSC West | Substation | E31
80087703 |  |  |  | T26
80107136 | BW-0521-00521G | 521G Electrical Sub-Section | Electrical Section | T27
80107137 | BW-0522-00522A | 522A Electrical Sub-Section | Electrical Section | T27
80107845 | ST001960-04 | DINGO ATS 140.896 km BATTERY CHARGER | LV Power Systems | T27
80106914 | ST001920-05 | TL AT AC/DC Power Supply | LV Power Systems | T27
80107844 | ST002120-02 | WYCARBAH 36.695 km BATTERY CHARGER | LV Power Systems | T27
80107850 | ST002150-02 | WINDAH 57.605 km BATTERY CHARGER | LV Power Systems | T27
80106916 | ST001970-05 | WALTON 162.202 km BATTERY CHARGER | LV Power Systems | T27
80107847 | ST002330-02 | GREGORY ATS 62.219 km BATTERY CHARGER | LV Power Systems | T27
80107846 | ST002180-02 | EDUNGALBA ATS 84.668 km BATTERY CHARGER | LV Power Systems | T27
80107848 | ST002210-02 | TRYPHINIA 128.425 km BATTERY CHARGER | LV Power Systems | T27
80107849 | ST002200-02 | WALLAROO 115.036 km BATTERY CHARGER | LV Power Systems | T27
80106915 | ST001930-05 | AN AT AC/DC Power Supply | LV Power Systems | T27
80106076 |  |  |  | T27